August 14, 2025

ADDENDUM NO. 6

BID NO. 26-03

SEWER REHABILITATION
ANNUAL CONTRACT

To all holders of the specifications, the following corrections are hereby made. All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project.

Acknowledgement of Addendum

Name:	________________________________________________

Company:	________________________________________________

Date:		________________________________________________

Signature:	________________________________________________


Q1: Why is the city only using UV Cured lining method? Would the city consider Stream Cured lining method?

A1: The scope of this project specifies UV Cure only; Steam Cure is not permitted.  The City has chosen UV method for its many advantages over other methods, such installation time, product longevity, durability and thickness.  Bids for methods other than UV will not be accepted. 

Q2: Please confirm contractor is allowed to release filtered water removed during the pipe vacuuming process back into the sanitary system.

A2: Filtered water vacuumed out of City sewers during cleaning operations may be released back into the sanitary system. 

Q3: Are there any well water areas, wetland areas, ground water or other sensitive environments proximate to the work area? If so, are there specific controls required to protect these areas such as “pre-liners”?”

A3:  There are no such areas identified in the project area, nor are any specific controls required as mentioned.

Q4: With not knowing a definite scope of work, will the city consider adding a bid item for traffic control? If there isn’t a lot of traffic control on the project, this will benefit the city.

A4: Item 050 on page 39 of the existing bid package is for Traffic Control.

Q5: Project operation hours are listed from 8am to 4pm. Liners can take longer to install. Will the city approve a longer workday if needed?

A5: The City may approve longer workdays with requests in writing as the project continues.  The project schedule, holidays and working hours will be agreed upon in more detail at the project kick-off meeting after award.

