RFP 23-06		 November 2, 2022
Addendum No 1

ADDENDUM NO. 1

BID NO.  23-06
FESTIVAL PARK ELECTRICAL IMPROVEMENTS

To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project. 

Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________

Q1) Pre-Bid Meeting & Site Visit:
A1) To clarify any remaining questions or concerns, a site visit / pre-bid meeting is scheduled for Thursday November 10th 2022 at 2:00pm.  This meeting is not mandatory.
Please contact Costa Maistros at cmaistros@aberdeenmd.gov if you plan to attend.

Q2) Clarification on Scope of Project Component #2:
A2) This component calls for an additional 14 pedestals to be installed adjacent to the existing 14 pedestals located around the perimeter of the park in the mulch beds around various trees.  (Exact locations vary from drawing.) Proposed new pedestals shall be fed from a new 125a line that will be installed in addition to existing circuits. Existing handholes and pedestals shall remain in place.
  
Q3) Re-Use of Existing Conduit and Handholes:
A3) The TEI Study calls for an additional network of conduit and handholes to be installed along side the existing assets to support the newly installed pedestals.  However, the option remains, if the chosen contractor deems it possible, to use the existing conduit and handholes to carry the new 125a wiring in addition to the existing wiring in compliance with all relevant electrical codes.  
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