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ADDENDUM NO. 6


BID NO.  23-05
SEWER REHABILITATION 
(GILES LANE & ROUTE 40 AREAS)


To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project. 


Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________




Q1: Can we use air inversion for the installation of the liners, and steam under pressure to cure the liner?  
A1: Yes, the City will allow air inversion and steam curing processes for the liner.
Q2: Can you clarify the requirements for Maryland Certificate of Registration under SPG 6.3 and SPG 6.4?  
A2: SPG 6.3 & 6.4 are redundant.  They both refer to a license or certification to Operate within the State of Maryland.
Q3: What is meant by the ‘Add Alternate Pricing’ on Page 3 of the Bid Form?  
A3: The Add Alternate Pricing refers to Item 002 ‘Rt 40 Area Manhole Rehabilitation’.  The project will be awarded based on the bids for Item 001 ‘Giles Lane Area Main Rehabilitation’ with Item 002 as an optional addition to the scope of work at the City’s discretion.  If Items 001 & 002 are both awarded, they will be awarded to the same bidder only.  If Item 002 is not awarded as a part of this project, the City will not proceed with Item 002 in this fiscal year.


		

