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ADDENDUM NO. 4


BID NO.  23-05
SEWER REHABILITATION 
(GILES LANE & ROUTE 40 AREAS)


To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project. 


Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________




Q1: Have these mains been cleaned in the last year?
A1: They were last cleaned during the last PACP inspection which was on 3/8/2022.
		

