August 11, 2025

ADDENDUM NO. 2

BID NO. 26-03

SEWER REHABILITATION
ANNUAL CONTRACT

To all holders of the specifications, the following corrections are hereby made. All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project.

Acknowledgement of Addendum

Name:	________________________________________________

Company:	________________________________________________

Date:		________________________________________________

Signature:	________________________________________________


Q1: 	Was the pre-bid meeting held on July 24th mandatory? 

A1:	No, the pre-bid meeting was not mandatory for qualification of bids. 

Q2:	Section 4.4.8. specifies vacuum dye testing normally required for felt liners, can this requirement be removed for UV Cured Fiberglass that is produced at an ISO 9001 certified facility?

A2: Yes this testing requirement can be removed for UV Cured Fiberglass products from ISO 9001 certified facilities.

