RFP 22-03		 May 17, 2022
Bid Form

ADDENDUM NO. 1

BID NO.  22-03

RAILBIRD ALLEY WATER BOOSTER PUMP STATION
CITY OF ABERDEEN, MARYLAND

To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project. 

Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________


· Section 1: Answers to Questions Posed by Bidders

· Spec section 00410-4 states that contractor is to include “MD State Wage Rates”.   Please forward the applicable wage rates for this project.
GHD response:  There are no wage rates for the project. 
 
· Plan Sheet C-102 shows the new 12” DIP connecting to an existing 12” PVC line.  Is this line stubbed/capped at that location?  Or does it continue through the site, and required additional demolition/removal of 12” PVC?
GHD response:  The 12” PVC line is capped at the site.  This contract will connect to the 12” PVC and install the 12” DIP as shown on sheet C-102 on the suction and discharge side of the station.
 
· Contractors Forest Conservation requirements are shown on FC-001 & 002.  Please specify the location and number Forest Conservation Signs that will be required.
GHD response:  Sign locations are shown on Sheet FC-001.  32 signs are shown.
 
· In regards to Root Pruning & Crown Reduction of existing trees….Will a Certified Arborist be a requirement for this project?
GHD response:  A Certified Arborist is not required to perform this work.
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