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ADDENDUM NO. 1

BID NO.  24-03


To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project. 



Acknowledgement of Addendum

Name:	________________________________________________________

Company:	________________________________________________________

Date:	________________________________________________________

Signature: 	________________________________________________________


Q1)	Is temporary bypass required or is the new main to be located offset to the existing mains?
A1)	Temporary bypass is not included the current scope of work.  The existing water main is to remain in service throughout the duration of the project.  The existing physical configuration of utilities allows enough space to install new water main alongside existing.  Details Page 02 shows examples of the physical spacing of the existing utilities in reference to surrounding areas.

Q2)	Page SPG-8, #6.2 refers to sheet 8 for restoration as per details. The reference details are not actually shown.
A2)	Apologies, the referenced detail is not shown as stated in SPG-8.  
Harford County Road Code Standard Details are located here:
https://www.harfordcountymd.gov/DocumentCenter/View/1639/Road-Code-Book-of-Standard-Details-PDF 
Harford County Water and Sewer Design Guidelines are located here: https://www.harfordcountymd.gov/DocumentCenter/View/2006/Water--Sewer-Design-Guidelines-PDF 

Q3)	Page SPG-8, #6.3 refers to SP-7, The reference item is not relevant to #6.3.
A3)	Apologies, SPG-8 #6.3 should refer to Pavement Resurfacing Items SP-8.1 through SP-10.13.  Furthermore, SP-8.1 should be corrected to refer to SP-8.1 through SP-10.13.

Q4)	When do you anticipate contract Award and a Notice to Proceed?
A4)	Successful Bidders are typically provided with an “Intent to Award” on behalf of the City within two weeks after the Bid Opening.  Formal award of the project could take up to 30 days after the Bid Opening.  The Notice to Proceed will be established at the Pre-Construction meeting which is typically scheduled within 30 days after the Bid Opening.

Q5 )	Does the contract time include a winter Shutdown or is the project planned to be worked through the winter?  
A5)	No anticipated shutdowns are included in the contract time.  The project timeline will be established during the Pre-Construction meeting along with the Notice to Proceed date.  The timeline can be adjusted and agreed upon at that time, taking into account weather delays, etc.

Q6)	Does the contract time include the engineering drawings to be produced?
A6)	The time to produce drawings is included in the contract time.  The contract time does not start until the Notice to Proceed issue date which is established at the Pre-Construction meeting.  (If the Contractor expects any process to cause delays in the contract time, it shall be discussed at the Pre-Construction meeting and timelines can be adjusted accordingly.)

Q7)	Please provide a link to Standard Specifications for construction and material for Harford County and any amendments by the City of Aberdeen where applicable.
A7)	See links provided below:  
	
	City of Aberdeen Adopted Code is located here:
	https://ecode360.com/AB1209 

	City of Aberdeen Addendum to Harford County Approved Material Listing and Standard Details is located here: 
https://www.aberdeenmd.gov/sites/g/files/vyhlif4101/f/pages/2022-11-01_w-s_approved_list_of_supplies_and_materials_-_coa_addendum_2.pdf 

	Harford County Adopted Code is located here:
http://www.ecode360.com/?custId=HA0904 

Harford County Water and Sewer Design Guidelines are located here: https://www.harfordcountymd.gov/DocumentCenter/View/2006/Water--Sewer-Design-Guidelines-PDF 

Harford County Water and Sewer Standard Details are located here:
https://www.harfordcountymd.gov/DocumentCenter/View/2017/Water--Sewer-Standard-Specifications-PDF?bidId 



Harford County Road Code Standard Details are located here:
https://www.harfordcountymd.gov/DocumentCenter/View/1639/Road-Code-Book-of-Standard-Details-PDF 

Harford County Adopted Code Criteria is located here:
https://www.harfordcountymd.gov/DocumentCenter/View/275/Harford-County-Code-Criteria-PDF 


Q8)	Are there any road opening permit fees or other permit fees required by the City, and what are their costs?
A8)	There will be no such permitting fees assessed by the City for road work or utility work under the scope of this project.  



		

