RFP 23-01		 April 1, 2022
Bid Form

ADDENDUM NO. 1

BID NO.  23-01

STREET RESURFACING, AND REMOVAL & REPLACEMENT OF CONCRETE CURB, GUTTER, SIDEWALK AT VARIOUS LOCATIONS
CITY OF ABERDEEN, MARYLAND

To all holders of the specifications, the following corrections are hereby made.  All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project. 

Acknowledgement of Addendum

Name: ___________________________________________________

Company: ________________________________________________

Date: ____________________________________________________

Signature: ________________________________________________


Memorandum for All Bidders

RE:  Bid 23-01 ABERDEEN BID FY23 CONTRACT Response to Questions

The city provides the following response to questions submitted by a bidder on March 23, 2022.  No changes in specifications, bid forms, or other documents in the post package will be amended in response to these questions.  

1. Is there a dollar amount that the contract is not to exceed?  Contractors are expected to submit bids based on the estimated quantities provided.  Upon approval of available funding, the scope of work will identify areas of work from which measurements would be taken.  The actual amount will be paid based on the measurements by both the contractor and the City using the assigned line numbers.  

2. There is no item for storm drain inlets =, Manholes, water valves Or other utilities.  If we do not know what streets we are doing how can we price what it will cost to adjust them.  See SPG-5, Paragraph 4.3.  These items are inherent to the total costs for Item 504 on the Bid Form  

3. LDs only go up to 500,000 how much are they if contract is over that amount.  Under this contract, LDs are maxed at $300 per day if the contract amount is over $500,000.

4. Are you going to mill the whole road or do edge milling big price difference in surface if edge milling is not paid for? Roads in general will be 2" milled and 2" resurfaced, unless otherwise directed.  The contractor will need to factor in all costs as it depends on the roadway’s being milled.  See SPG-5 Paragraph 4.2 Milling.    

5. SPG-7 5.4 Said double lines will be paid as one line so will all yellow be Double lines?  Yes, all yellow lines will be double lines and paid as a single line item (SPG-6, Para 5.2.2.1).  Bidder should review SPG-7, Para 5.4 for additional information. 

6. There is No Bituminous Patch Item how will we get paid for any patching. If any patching is required, milling will be paid per depth of patch per area based on 0-2” utilizing Line No 508 and Asphalt will be based using Line No 504. For example, if 4" mill is required, bidder will be paid per SY of Line No 508 at 2 times, for 6” mill at 3 times, etc.  Asphalt is paid by Line No 504 quantity

7. Can you give us a Lump sum item to pay for the Bonds. Bidders are expected to pay for all bonds costs as part of the overall contract.  There will be no separate line item for bonds in the Bid forms.  Bonds are based on total bid amount.     

8. Do you have a list of streets to be completed on this contract. No.  A list of streets has not been finalized.  Some streets will require mill and overlay while other areas may require curb and sidewalk as well.  A list of sidewalk replacement, curb replacement, and mill and overlay of streets will be presented to the successful bidder once reviewed by council.  It is expected that the list will be finalized by the end of June for work to begin after July 1.
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