**ADDENDUM NO. 1**

**BID NO. 24-04**

**COA & APG GENERATOR MAINTENANCE**

To all holders of the specifications, the following corrections are hereby made. All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project.

**Acknowledgement of Addendum**

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Q1: “It is stated that there are 46 generators broken into groups. The water generator sets for “City generator units” states that there are 4 gens when only 3 are listed. 5.1,5.2, & 5.3 are the only 3 gens listed. Is there a 4th? If so, can you please provide the generator information?”

**A1: The HEAT Center Water Booster Station should have been included but was omitted from the specifications. See Below:**

***Generator Address: R 3659 Churchville Road***

***Address name: H.E.A.T. Center Water Booster Station***

***Manufacturer: Kohler Kw: 375.00 Model: 400R0ZD71***

***Serial number: 365673 Engine Manufacturer: Detroit Diesel***

***Engine unit number: 08VF167379 Serial number: 7A50442***

***Engine model number: 80837416 Engine Spec: A 299939***

Q2: “Is generator 4.14 (NORTH GATE COPT PROJECT) to be included in the bid even though it states that this unit does not yet belong to the City? If so, can the generator information be provided?”

**A2: No, the Northgate/COPT Pump Station site should not be included in bids.**

Q3: “Do you know the size (kw) for generator 8.3?”

**A3: The generator at site 8.3 is rerated at 600.0 kw 3ph.**

Q4: **“**In the general provisions document there are a few terms and conditions that we would need to negotiate if awarded the contract. Would negotiations be after the award, or should we submit the revisions with the bid package?”

**A4: Terms and Conditions are not negotiable.**