**ADDENDUM NO. 1**

**BID NO. 24-06**

**WWTP LIME SILO REMOVAL**

**UTL-16-27**

To all holders of the specifications, the following corrections are hereby made. All other items shall remain unchanged. This addendum shall become part of the Contract Documents for the above referenced project.

**Acknowledgement of Addendum**

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Company: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Q1: Would the City consider the complete demolition and removal of the concrete structure underneath the silo instead of preserving and roofing the building?

A1: While the City would still prefer that the existing concrete structure remains after the silo is removed, we will accept proposals for the complete demolition and removal of the concrete enclosure at the base of the silo. Bidders shall keep in mind that portions of the electrical system within the building must remain in place after the demolition as they support other plant processes. This new task has been added to the bid form as Add Alternate Line Item 005. (See updated Bid Form attached here.)

Furthermore, as a result of this additional alternate scope of work, the **Bid Opening date has been changed to December 15, 2023 at 1:00pm** and a second **Pre-Bid Site Visit is scheduled for December 1, 2023 at 1:00pm.**

Additionally, the City will no longer require attendance at either Pre-Bid meeting as mandatory in order to bid on this project.

**Attachment(s):**

**“06 24-06 Bid Form – Updated 11-20-2023”**